## Slide 2
ECONOMIC COMPARISON OF WIND POWER
AND
GAS-POWERED THERMAL POWER PLANTS IN EUROPE
PRESENTED BY
  ANTHONY PENN NCHINDA
  MD SAZZAD HOSSAIN KHAN
  YE HTET KYAW
  MD ASIFUR RAHMAN SAIKOT

## Slide 3
Presentation Outline
PRESENTED BY
  ANTHONY PENN NCHINDA
  Thesis Statement and our goal
  Infrastructure of wind energy and gas-fired power plants
  Breakdown of O&M costs
  Comparison of cost per kWh in 20 years
  Result and Conclusion
1

## Slide 4
Thesis Statement
PRESENTED BY
  ANTHONY PENN NCHINDA
Wind energy is cheaper than gas-fired thermal power plants.
2

## Slide 5
Our Goal
PRESENTED BY
  ANTHONY PENN NCHINDA
To prove the wind energy, despite its high initial costs, is seen to be cheaper in the long run, especially in areas where gas prices are high and unstable.
3

## Slide 6
Wind Energy Infrastructure
PRESENTED BY
  MD SAZZAD HOSSAIN KHAN
Wind farms consist primarily of turbines that convert kinetic energy of the wind into electrical power. Each turbine has three main components:
  Rotor blades
  Nacellee (houses the generator)
  Tall tower
Turbines are connected to the grid through substations to transmit power.
Wind energy relies on natural, renewable resources and requires less complex infrastructure than thermal power plants.
4
[1,2]

## Slide 7
PRESENTED BY
  MD SAZZAD HOSSAIN KHAN
5
[8]

## Slide 8
Gas-Powered Thermal Power Plants
PRESENTED BY
  MD SAZZAD HOSSAIN KHAN
Gas plants generate electricity by burning natural gas to produce heat, which turns water into steam. The steam drives a turbine connected to a generator. Key components include:
  Boilers
  Cooling towers
  Extensive fuel supply chains
Gas plants require continuous fuel input and emit carbon dioxide, contributing to climate change, with higher operational costs compared to wind energy.
6
[1,2]

## Slide 9
PRESENTED BY
  YE HTET KYAW
Maintainenace Cost
Routine Maintenance
Parts and Material Costs
Preventive Maintenance
Emergency Repairs
Corrective Maintenance
Labor Costs
Administrative Expenses
Miscellaneous Costs
7
[3]

## Slide 10
Operational Cost
Fuel Cost
Insurance
Regulatory Compliance
Grid connection and transmission
Logistics and Transportation
Labor Costs
Administrative Expenses
Miscellaneous Costs
PRESENTED BY
  YE HTET KYAW
8
[3]

## Slide 11
Gas-Powered TPP | Wind Power Plant
8760 | 4380
Installed Capacity (MW) | Capacity Factor (Gas TPP) | Capacity Factor (Wind PP)
2 | 0.50 | 0.25
Calculating the Total Energy Production
We will use the following formula to calculate the total electricity produced in both types of power plants over a time period of 20 years.
Total Energy Production over 20 Years
Installed Capacity × 8760 hours/year
× Capacity Factor × 20
=
Annual Energy Production (MWh)
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
TABLE-2: ANNUAL ENERGY PRODUCTION
TABLE-1: POWER PLANT SPECIFICS
9
[4,5,6,7]

## Slide 12
Annual Cost = Fuel cost + O&M cost
Calculating Total Cost
We will use the following formula to calculate the total in both types of power plants over a time period of 20 years.
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
Total Cost over 20 Years = Capital Cost + Annual Cost × 20
Per kWh Price = (Total Cost over 20 Years) / (Total Energy Production over 20 Years)
10
[4,5,6,7]

## Slide 13
Calculating Total Cost & price/kWh (Wind Power Plants)
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
Installed Capacity = 2MW
Capital Cost = 1.350.000€/MW (average)
Annual O&M cost = 394.200€
Annual Fuel Cost = 0€
TIme Period = 20 years
Total Cost = 2700000 + (394.200 + 0) * 20 = 10.584.000€
Price/kWh = Total Cost/Total energy production
= 10.584.000/(4380*1000*20) = 0,12€/kWh
11
[4,5,6,7]

## Slide 14
Calculating Total Cost & price/kWh
(Gas-Powered TPP)
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
Installed Capacity = 2MW
Capital Cost = 1.350.000€/MW (average)
Annual O&M cost = 45.000€
Annual Fuel Cost = 613.200€
TIme Period = 20 years
Total Cost = 2700000 + (45000 + 613200) * 20 = 15.862.200€
Price/kWh = Total Cost/Total energy production
= 15.862.200/(8760 * 1000 * 20) = 0,09€/kWh
12
[4,5,6,7]

## Slide 15
Graphical Illustration
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
Installed Capacity = 2MW
Capital Cost = 1.350.000€/MW (average)
Annual O&M cost = 45.000€
Annual Fuel Cost = 613.200€
TIme Period = 20 years
Total Cost = 2700000 + (45000 + 613200) * 20 = 15.862.200€
Price/kWh = Total Cost/Total energy production
= 15.862.200/(8760 * 1000 * 20) = 0,09€/kWh
13
[4,5,6,7]

## Slide 16
Graphical Illustration
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
14
[4,5,6,7]

## Slide 17
Graphical Illustration
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
15
[4,5,6,7]

## Slide 18
Graphical Illustration
PRESENTED BY
  MD ASIFUR RAHMAN SAIKOT
16
[4,5,6,7]

## Slide 19
  Our thesis statement claims that wind power is cheaper than gas turbines.
  However, the 2020 data suggests otherwise.
  This data predates the Russian Special Military Operation in Ukraine when Russia was the EU's primary gas supplier.
  Since 2022, the geopolitical shift has increased gas prices and electricity costs.
  Although we lack recent data, gas turbine costs most likely match or exceed wind power costs.
Conclusion
17

## Slide 20
  [1]M. A. Mueller, H. Polinder, and D. E. Macpherson, "Experimental tests of an air-cored PM tubular generator for direct drive wave energy converters," IET Renewable Power Generation, vol. 2, no. 1, pp. 1–10, Jan. 2008. [Online]. Available: https://digital-library.theiet.org/content/journals/10.1049/iet-rpg:20070001. [Accessed: Jan. 2, 2025].
  [2]H. E. Payne, "Repurposing Fossil Infrastructure," Journal of Climate and Energy Law, vol. 15, no. 3, pp. 45–78, 2023. [Online]. Available: https://digital.sandiego.edu/jcel/vol15/iss0/3/. [Accessed: Jan. 2, 2025].
  [3]A. M. Costa, J. A. Orosa, D. Vergara, and P. Fernández-Arias, "New Tendencies in Wind Energy Operation and Maintenance," Applied Sciences, vol. 11, no. 1386, pp. 1-26, 2021.
  [4]International Renewable Energy Agency (IRENA), "Renewable Energy Cost Analysis: Wind Power," 2020. [Online]. Available: https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/RE_Technologies_Cost_Analysis-WIND_POWER.pdf. [Accessed: Jan. 2, 2025].
  [5]European Commission, "Final Report Cost of Energy (LCOE)," 2020. [Online]. Available: https://energy.ec.europa.eu/system/files/2020-10/final_report_levelised_costs_0.pdf. [Accessed: Jan. 2, 2025].
  [6]Fraunhofer Institute for Solar Energy Systems ISE, "Study: Levelized Cost of Electricity Renewable Energy Technologies," 2024. [Online]. Available: https://www.ise.fraunhofer.de/content/dam/ise/en/documents/publications/studies/EN2024_ISE_Study_Levelized_Cost_of_Electricity_Renewable_Energy_Technologies.pdf. [Accessed: Jan. 2, 2025].
  [7]International Energy Agency (IEA), "Projected Costs of Generating Electricity 2020," 2020. [Online]. Available: https://www.iea.org/reports/projected-costs-of-generating-electricity-2020. [Accessed: Jan. 2, 2025].
  [8]OpenAI, "Conceptual illustration: Natural gas and wind power plants," DALL-E, Jan. 2025. [Online]. Available: ChatGPT interface.
Bibliography:
18

## Slide 21
Thank you very much for your attentions!
19
PRESENTED BY
  ANTHONY PENN NCHINDA
  MD SAZZAD HOSSAIN KHAN
  YE HTET KYAW
  MD ASIFUR RAHMAN SAIKOT